## Legend Icons
LEGEND ICONS
| teow | touch panel type 4 - lighting control staff room | touch panel type 2 - main light staircase | touch panel type 3 - main light corridor | touch panel type 4 - lighting, scene & hvac control games room | touch panel type 5 - lighting, scene & hvac control media room | touch panel type 6 - lighting & hvac control wet | touch panel type 7 - lighting and hvac control lft lossy | touch panel type 8 - lighting control walk in close tacloset | touch panel type 9 - lighting, exhaust fan & scene control - bathroom entrance | touch panel type 10 bedroom & wic entrance | touch panel type 11 - scene, curtain & lighting control - lounge | touch panel type 12 - all off button scene, curtain control - bedroom entry | touch panel type {2a - scene, reading light / bedside lighting, curtain, hvac control bedside (right) | touch panel type 12a - scene, reading light / bedside lighting, curtain, hvac control bedside (left) | touch panel type 13 - scene & hvac control study room | touch panel type #4 - lighting, scene & hvac control living room & bar | touch panel type 15 - all off button scene wic lighting & curtain control -bedroom entry and wac | touch panel type 16 - lighting & hvac control powder room | pir seer | thermostat with pir sensor | motor for curtain control | door contact ¦ | home altomation panel gouxb00x soma