## Legend Icons
LEGEND ICONS
teow
touch panel type 4 - lighting control staff room
touch panel type 2 - main light staircase
touch panel type 3 - main light corridor
touch panel type 4 - lighting, scene & hvac control games room
touch panel type 5 - lighting, scene & hvac control media room
touch panel type 6 - lighting & hvac control wet
touch panel type 7 - lighting and hvac control lft lossy
touch panel type 8 - lighting control walk in close tacloset
touch panel type 9 - lighting, exhaust fan & scene control - bathroom entrance
touch panel type 10 bedroom & wic entrance
touch panel type 11 - scene, curtain & lighting control - lounge
touch panel type 12 - all off button scene, curtain control - bedroom entry
touch panel type {2a - scene, reading light / bedside lighting, curtain, hvac control bedside (right)
touch panel type 12a - scene, reading light / bedside lighting, curtain, hvac control bedside (left)
touch panel type 13 - scene & hvac control study room
touch panel type #4 - lighting, scene & hvac control living room & bar
touch panel type 15 - all off button scene wic lighting & curtain control -bedroom entry and wac
touch panel type 16 - lighting & hvac control powder room
pir seer
thermostat with pir sensor
motor for curtain control
door contact ¦
home altomation panel gouxb00x soma